## SNMPGets-Sets
SNMP OIDs for Spectracom SecureSyncs
OIDs (Object IDs) associated with the SecureSync SNMP functionality There are actually three unique sets of SNMP OIDs/Object Numbers for the SecureSyncs. SecureSync run Net- SNMP software for its SNMP functionality. Net-SNMP has its own set of SNMP objects. A second set of objects is for the Spectracom-specific objects (such as the majority of the available SNMP traps are Spectracom-specific, for example). The Authorization trap is a Net-SNMP trap instead of a Spectracom-specific trap. SecureSync SNMP also supports the generic RFC-1213 MIB file, which also has its own OID numbers associated with it. In summary: • The SNMP object numbers of ".1.3.6.1.4.1.18837.x" are for Spectracom-specific objects. • The SNMP object numbers of ".1.3.6.1.4.1.8072.x" are objects associated with Net-SNMP. • The SNMP object numbers of ".1.3.6.1.4.1.2.1.x" are objects associated with RFC-1213.
Unit Identification/version info
Model Number | .1.3.6.1.2.1.1.1.0 | sysDescr
Serial Number | .1.3.6.1.4.1.18837.3.2.2.1.16 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaSerial |  |  | (Serial Number is available via SNMP in software versions 5.2.1 and above)
Software version | .1.3.6.1.4.1.18837.3.2.2.1.11 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaVersion
Reboot
Reboot | 18837.3.2.2.5.1 | ssSysCtrlCommand to either Reboot or apply remote software updates |  |  | { REboot ( 4 ) , normal state is "idle (1)" "(2)" and "(3)" are for performing software updated
Uptime/Input power
System Uptime | .1.3.6.1.2.1.1.3.0
AC input power | .1.3.6.1.4.1.18837.3.2.2.1.1 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaPowerAC
DC input power | .1.3.6.1.4.1.18837.3.2.2.1.2 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaPowerDC |  |  | { ok ( 1 ) , in alarm ( 2 ) , none ( 3 ) }
Synchronization
Unit's Sync State | .1.3.6.1.4.1.18837.3.2.2.1.5 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaSyncState |  |  | { sync ( 1 ) , nosync ( 2 ) }
Selected Time Reference | .1.3.6.1.4.1.18837.3.2.2.1.3 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaTimeReference |  |  | (null if none selected)
Selected 1PPS Reference | .1.3.6.1.4.1.18837.3.2.2.1.4 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysSta1PPSReference |  |  | (null if none selected)
Holdover mode | .1.3.6.1.4.1.18837.3.2.2.1.6 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaHoldoverState |  |  | { inHoldover ( 1 ) , notInHoldover ( 2 ) }
TFOM | .1.3.6.1.4.1.18837.3.2.2.1.7 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaTfom |  |  | (range of 1 to 15)
Estimated Frequency Error | .1.3.6.1.4.1.18837.3.2.2.1.9 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaEstFreqError
Estimated Phase Error | .1.3.6.1.4.1.18837.3.2.2.1.8 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaEstPhaseError
GPS Receiver info
Antenna Sense | .1.3.6.1.4.1.18837.3.2.2.2.1.1.17 | specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRefAntennaState |  |  | { ok ( 1 ) , short ( 2 ) , open ( 3 ) , unknown ( 4 ) }
# Satellites being tracked | .1.3.6.1.4.1.18837.3.2.2.2.1.1.8 | specSecureSyncMIB.specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRefNumSats |  |  | (out of a possible max of 12 satellites)
GPS Time validity | .1.3.6.1.4.1.18837.3.2.2.2.1.1.4 | specSecureSyncMIB.specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRefTimeValid |  |  | { valid ( 1 ) , not valid ( 2 ) }
GPS 1PPS validity | .1.3.6.1.4.1.18837.3.2.2.2.1.1.5 | specSecureSyncMIB.specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRef1ppsValid |  |  | { valid ( 1 ) , not valid ( 2 ) }
System (kernel) Date / Time (in UTC timescale)
Date/Time | .1.3.6.1.4.1.18837.3.2.2.1.15 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaDateTime |  | ("YYYY DDD HH:MM:SS.NNNNNNNNN" where: YYYY = Year DDD = Day of Year HH = Hour MM = Minute SS = Second NNNNNNNNN = Subseconds" )
System Alarms
Major Alarm | .1.3.6.1.4.1.18837.3.2.2.1.14 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaMajorAlarm |  | { on ( 1 ) , off ( 2 ) }
Minor Alarm | .1.3.6.1.4.1.18837.3.2.2.1.13 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaMinorAlarm |  | { on ( 1 ) , off ( 2 ) }
NTP info
NTP Sync state | .1.3.6.1.4.1.18837.3.3.2.1 | spectracom.specProducts.ntpSnmpObjs.ntpSystemStatusObjs.ntpSysStaCurrentMode | { unknown ( 1 ) , notRunning ( 2 ) , notSynchonized ( 3 ) , synchronized ( 4 ) }
NTP Stratum | .1.3.6.1.4.1.18837.3.3.2.2 | spectracom.specProducts.ntpSnmpObjs.ntpSystemStatusObjs.ntpSysStaStratum | (Range of Stratum is 1 to 16)
System MIBs (available with software version 5.2.1 and above)
MEMORY:
Total Swap Size | .1.3.6.1.4.1.2021.4.3.0
Available Swap Space: | .1.3.6.1.4.1.2021.4.4.0
Total RAM in machine: | .1.3.6.1.4.1.2021.4.5.0
Total RAM used: | .1.3.6.1.4.1.2021.4.6.0
Total RAM Free: | .1.3.6.1.4.1.2021.4.11.0
Total RAM Shared: | .1.3.6.1.4.1.2021.4.13.0
Total RAM Buffered: | .1.3.6.1.4.1.2021.4.14.0
Total Cached Memory: | .1.3.6.1.4.1.2021.4.15.0
CPU: | `
percentage of user CPU time: | .1.3.6.1.4.1.2021.11.9.0
raw user cpu time: | .1.3.6.1.4.1.2021.11.50.0
percentages of system CPU time: | .1.3.6.1.4.1.2021.11.10.0
raw system cpu time: | .1.3.6.1.4.1.2021.11.52.0
percentages of idle CPU time: | .1.3.6.1.4.1.2021.11.11.0
raw idle cpu time: | .1.3.6.1.4.1.2021.11.53.0
raw nice cpu time: | .1.3.6.1.4.1.2021.11.51.0
DISK USAGE:
Path where the disk is mounted: | .1.3.6.1.4.1.2021.9.1.2.1
Path of the device for the partition: | .1.3.6.1.4.1.2021.9.1.3.1
Total size of the disk/partition (kBytes): | .1.3.6.1.4.1.2021.9.1.6.1
Available space on the disk: | .1.3.6.1.4.1.2021.9.1.7.1
Used space on the disk: | .1.3.6.1.4.1.2021.9.1.8.1
Percentage of space used on disk: | .1.3.6.1.4.1.2021.9.1.9.1
Percentage of inodes used on disk: | .1.3.6.1.4.1.2021.9.1.10.1
Rev E, 12 Oct 2015

## Traps
System Alarms (Traps)
Traps: Certain events can automatically send an SNMP trap (also referred to as a Notification) when they occur. Available traps that can be sent are listed in the table below.
Associated OIDs (fourth column of table below): SNMP traps (Notifications) just define alerts that can be automatically sent when a specific event occurs. Traps and the variables they report cannot be polled using an SNMP Get. However, there may be another object available that reports the current status that is associated with that particular trap. For example, the "Time Synchronization" trap is sent when loss of sync occurs. An SNMP Get of the trap can't be performed. But there may be an associated object available that can be polled for the current sync status.
Clear traps: Some events (such as a loss of Sync) have an associated "Clear" trap that is sent when the event has cleared (Sync has been restored for example) . These are indicated below with a correlating fill color. Other events (such as changing from one input reference to another ) do not have a "Clear" conditon associated with it. These traps are displayedbelow with no fill color.
SNMP Trap | OID Number | Major or Minor alarm clasification | Indicates | OID (if one is available) to perform an SNMPGet for this associated current status | Recommended actions if trap is sent *See the note below about the time stamp for each log entry
“Time Synchronization” | 1.3.6.1.4.1.18837.3.1.3.0.2 | Major alarm | The unit has either entered or left the synchronized state | Sync Status (Refer to "unit's sync state" in the "SNMPGets" tab): .1.3.6.1.4.1.18837.3.2.2.1.5 | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being asserted. Has the SecureSync been recently rebooted/power cyced (as indicated by a "The Unit Has Rebooted" entry in the Tools-> Events page of the browser and/or associated Reboot trap)? This alarm is asserted for two primary reasons, including after each boot-up (it should clear shortly thereafter). If the SecureSync wasn't recently rebooted, it lost Time Sync status some time ago (due to all of its input references being lost/declared not valid). In this scenario, the Time Sync alarm would have been preceeded by an "In Holdover" alarm/trap (and associated Minor alarm/trap), asserted when all inputs were initially lost. See if the "GPS Antenna Problem" alarm was also asserted (as indicated in the Tools -> Alarms page of the browser) and/or the associated "GPSAntenna" trap also being sent. Refer to the "GPSAntenna" trap in this table for additional info). If the SecureSync is normally synced with GPS satellites (via an antenna attached to the rear panel), refer to the "SecureSync GPS Reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“Holdover” | 1.3.6.1.4.1.18837.3.2.3.0.2 | Minor alarm | The unit has either entered or left the holdover state. | Holdover Mode (Refer to "Holdover" in the "SNMPGets" tab): .1.3.6.1.4.1.18837.3.2.2.1.6 | Note this alarm is classified as a Minor alarm conditon and will result in the Minor alarm/trap also being asserted. Recently, all available input references have been lost/declared no valid. See if the "GPS Antenna Problem" alarm was also asserted (as indicated in the Tools -> Alarms page of the browser) and/or the associated "GPSAntenna" trap also being sent. Refer to the "GPSAntenna" trap in this table for additional info). If the SecureSync is normally synced with GPS satellites (via an antenna attached to the rear panel), refer to the "SecureSync GPS Reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
FrequencyError” | 1.3.6.1.4.1.18837.3.2.3.0.3 | Major alarm | The frequency output error exceeds specifications. | N/A | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being asserted. See if any other alarms were also asserted recently or at the same time. Has the time SecureSync been recently rebooted/power cyced (as indicated by "The Unit Has Rebooted" entries in the Tools-> Events page of the browser and/or associated Reboot trap being sent). This alarm is asserted for several reasons, including after each boot-up and should normally clear within a few minutes therafter. In software versions 5.2.1 and below, is NTP the selected input (indicated on the Home page of the browser)? In earlier versions, this alarm normally remains continuously asserted when its synced to other time severs. View/Search the Tools -> Alarms page of the browser for possible "In Holdover" alarms and the Tools -> Events page of the browser for possible "Reference Change" entries (losing all input references or switching between references can cause the Frequency Error alarm to be asserted).
“FrequencyOK” | 1.3.6.1.4.1.18837.3.2.3.0.4 | N/A | The frequency output error meets specifications. | N/A | N/A. Alarm has cleared.
“UserMinorAlarm” | 1.3.6.1.4.1.18837.3.2.3.0.5 | Minor alarm | The user-programmable minor alarm timeout has been asserted. | # Satellites being tracked (Refer to "# Satellites being tracked" in the "SNMPGets" tab): .1.3.6.1.4.1.18837.3.2.2.2.1.1.8 | Note this alarm is classified as a Minor alarm conditon and will result in the Minor alarm/trap also being asserted. Indicates the GNSS receiver is tracking fewer satellites than the user-specified minimum number of satellites to alert on (as configiured in the Management -> Notifications page of the browser, GPS tab). This number may have been set unreasonally too high (often, numbers above "4" , as it's not uncommon for only 4 or 5 satellites to be in view at any given time). See how many satellites the GNSS receiver is currently tracking (Interfaces-> GNSS 0 page of the browser. if the receiver is tracking less than about 4 satellites with the antenna mounted outdoors, refer to the "SecureSync GPS reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“UserMinorClear” | 1.3.6.1.4.1.18837.3.2.3.0.6 | N/A | The user-programmable minor alarm timeout has been reset. | N/A | Note this alarm is classified as a Minor alarm conditon and will result in the Minor alarm/trap also being asserted. Indicates the GNSS receiver is tracking fewer satellites than the user-specified minimum number of satellites to alert on (as configiured in the Management -> Notifications page of the browser, GPS tab). This number may have been set unreasonally too high (often, numbers above "4" , as it's not uncommon for only 4 or 5 satellites to be in view at any given time). See how many satellites the GNSS receiver is currently tracking (Interfaces-> GNSS 0 page of the browser. if the receiver is tracking less than about 4 satellites with the antenna mounted outdoors, refer to the "SecureSync GPS reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“UserMajorAlarm” | 1.3.6.1.4.1.18837.3.2.3.0.7 | Major alarm | The user-programmable major alarm timeout has been asserted. | # Satellites being tracked (Refer to "# Satellites being tracked" in the "SNMPGets" tab): .1.3.6.1.4.1.18837.3.2.2.2.1.1.8 | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm also being asserted. Indicates the GNSS receiver is tracking fewer satellites than the user-specified min number of satellites to alert on (as configiured in the Management -> Notifications page of the browser, GPS tab). This number may have been set unreasonably too high (often, numbers above "4" , as it's not uncommon for only 4 or 5 satellites to be in view at any given time). See how many satellites the GNSS receiver is currently tracking (Interfaces-> GNSS 0 page of the browser. if the receiver is tracking less than about 4 satellites with the antenna mounted outdoors, refer to the "SecureSync GPS reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“UserMajorClear” | 1.3.6.1.4.1.18837.3.2.3.0.8 | N/A | The user-programmable major alarm timeout has been reset. | N/A | N/A. Alarm has cleared.
“GpsAntenna” | 1.3.6.1.4.1.18837.3.2.3.0.9 | Minor alarm | The GPS antenna state has changed (antenna is disconnected, short or open occurring in the antenna cable). | Antenna Sense (Refer to "Antenna Sense" in the "SNMPGets" tab): .1.3.6.1.4.1.18837.3.2.2.2.1.1.17 | Note this alarm is classified as a Minor alarm and will result in the Minor alarm also being asserted. Indicates the internal GNSS receiver has detected either an open or short in the antenna coax cable (between the SecureSync and its antenna, or the antenna is not connected to the SecureSync. Can also be asserted due to surge damage to the GNSS receiver. Refer to the "SecureSync GPS Reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“MinorAlarm” | 1.3.6.1.4.1.18837.3.2.3.0.10 | N/A | The system Minor alarm has changed state. | Minor Alarm (Refer to "Minor Alarm" in the "SNMPGets" tab): .1.3.6.1.4.1.18837.3.2.2.1.13 | This alarm is asserted each time an alarm that is classified as a Minor alarm condition is asserted. Find out what other Alarm(s) were also asserted at that time (as reported in the Tools -> Alarms page of the web browser). Refer to that Alarm type in this table.
“MajorAlarm” | 1.3.6.1.4.1.18837.3.2.3.0.11 | N/A | The system Major alarm has changed state. | Major Alarm (Refer to "Major Alarm" in the "SNMPGets" tab): .1.3.6.1.4.1.18837.3.2.2.1.14 | This alarm is asserted each time an alarm that is classified as a Major alarm condition is asserted. Find out what other Alarm(s) were also asserted at that time (as reported in the Tools -> Alarms page of the web browser). Refer to that particular alarm type in this table.
“RefChange” | 1.3.6.1.4.1.18837.3.2.3.0.12 | N/A | The selected input time reference has changed. | N/A | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being assertedVerify why the higher priority reference was lost/declared not valid. If the SecureSync is nornally synced with GPS satellites (via an antenna), refer to the "SecureSync GPS reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“1ppsError” | 1.3.6.1.4.1.18837.3.2.3.0.13 | Major alarm | The 1PPS output error exceeds specifications. | N/A | Note this alarm is classified as a Major alarm and will result in the Major alarm/trap also being asserted. In order for this alarm to be asserted, the MaxTFOM value must have been changed from the factory default value of "15" in the Management -> Disciplining page of the browser). It may have been set to too low of a number. Dependant on the type of oscillator installed, in general it shouldn't be set to a number less than "4" ). View/Search the Tools -> Alarms log page of the browser for possible "In Holdover" and/or "Time Sync" alarms (and associated traps being sent). If the SecureSync is normally synced via IRIG input, verify the IRIG source/generator is locked to an external refernence (such as GPS). This can result in excessive jitter of the selected 1PPS input reference.
“1ppsOK” | 1.3.6.1.4.1.18837.3.2.3.0.14 | N/A | The 1PPS output error no longer exceeds specifications. | N/A | N/A. Alarm has now cleared.
“HWError” | 1.3.6.1.4.1.18837.3.2.3.0.15 | Major alarm | The timing system hardware is impaired. | N/A | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being asserted. Send the unit's logs to Spectracom for review/confirmation that an RMA Number to return the SecureSync to Spectracom is likely needed.
“OscillatorAlarm” (applicable to Rubidium oscillator only) | 1.3.6.1.4.1.18837.3.2.3.0.16 | Major alarm | The oscillator is requires maintenance. This typically indicates that the oscillator is within 10% of the edge its adjustable range (TCXO and OCXO) or the oscillator module lamp needs service. | N/A | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being asserted. Send the unit's logs to Spectracom for review/confirmation that an RMA Number to return the SecureSync to Spectracom is likely needed. Note this alarm/trap can also be asserted if there is excessive jitter on its selected input reference (such as an IRIG source not locked to an external reference, for instance).
“OscillatorOK” (applicable to Rubidium oscillator only) | 1.3.6.1.4.1.18837.3.2.3.0.17 | N/A | The oscillator no longer requires maintenance. This typically indicates that the oscillator adjustment value has changed and is now greater than 10% from the edge of its adjustable range. | N/A | N/A. Alarm has now cleared.
"Reboot" | 1.3.6.1.4.1.18837.3.2.3.0.18 | N/A | The system has rebooted. | N/A | If the SecureSync wasn't intentionally either rebooted or power cycled, verify input power connections and power source.
"Auth (Authentication) Error" (disabled by Factory default) | 1.3.6.1.2.1.1.3.0 | N/A | The Auth Error trap is sent when there is an SNMP authentication error on an SNMP query. | N/A | Verify the SNMP user/community names (configured in the NTP time server) match the user/community names configured in the SNMP Manager polling the time server.
* Note about time stamps for all of the log entries: The time stamp for each log entry is in UTC time scale (not local time). A "local time offset based on region /DST time correction for UTC offset needs to be added/subtracted to the time of a log entry to convert it to local time. For example, subtract 4 hours from the time of each log entry when in Eastern Time Zone and while in DST.