## SNMP Gets
SNMP OIDs for Model 1200 SecureSyncs
OIDs (Object IDs) associated with the SecureSync SNMP functionality There are actually three unique sets of SNMP OIDs/Object Numbers for the SecureSyncs. SecureSync run Net-SNMP software for its SNMP functionality. Net-SNMP has its own set of SNMP objects. A second set of objects is for the Spectracom-specific objects (such as the majority of the available SNMP traps are Spectracom-specific, for example). The Authorization trap is a Net-SNMP trap instead of a Spectracom-specific trap. SecureSync SNMP also supports the generic RFC-1213 MIB file, which also has its own OID numbers associated with it. In summary: • The SNMP object numbers of ".1.3.6.1.4.1.18837.x" are for Spectracom-specific objects. • The SNMP object numbers of ".1.3.6.1.4.1.2021.x" are objects associated with the ucdavis (UCD-SNMP-MIB) mib file. For more information on this MIB file, which is supported by SecureSync, refer to: http://www.net-snmp.org/docs/mibs/ucdavis.html • The SNMP object numbers of ".1.3.6.1.4.1.8072.x" are objects associated with the Net-SNMP-MIB file. • The SNMP object numbers of ".1.3.6.1.4.1.2.1.x" are objects associated with RFC-1213-MIB file.
Example SNMP Gets
Unit Identification/Software version info
Model Number ("sysDescr") | .1.3.6.1.2.1.1.1.0 | RFC1213.mib file (.iso.org.dod.internet.mgmt.mib-2.system.sysDescr.0)
Serial Number ("ssSysStaSerial") | .1.3.6.1.4.1.18837.3.2.2.1.16 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaSerial |  | (Serial Number is available via SNMP in software versions 5.2.1 and above)
System Name/Domain Name ("SysName" | .1.3.6.1.2.1.1.5 | RFC1213.mib file (.iso.org.dod.internet.mgmt.mib-2.system.sysName.0)
Main Software Version installed ("ssSysStaVersion") | .1.3.6.1.4.1.18837.3.2.2.1.11 | spectracom.specProducts.specxSyncMIB.specxSyncObjs.ssSystemStatusObjs.ssSysStaVersion
Perform Reboot via SNMP
Reboot ("ssSysCtrl") Note: Use variable "4" to reboot | 18837.3.2.2.5.1 | "ssSysCtrl" Command to either Reboot or apply remote software updates |  | Reboot ( 4 ) , normal state is "idle (1)" "(2)" and "(3)" are for performing software update
Uptime/Input power
System Uptime ("sysUpTime") | .1.3.6.1.2.1.1.3.0 | RFC1213.mib file (.iso.org.dod.internet.mgmt.mib-2.system.sysUpTime.0)
AC input power ("ssSysStaPowerAC") | .1.3.6.1.4.1.18837.3.2.2.1.1 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaPowerAC
DC input power ("ssSysStaPowerDC") | .1.3.6.1.4.1.18837.3.2.2.1.2 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaPowerDC |  | ok ( 1 ) , in alarm ( 2 ) , none ( 3 )
Unit Synchronization
Unit's Sync State ("ssSysStaSyncState") | .1.3.6.1.4.1.18837.3.2.2.1.5 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaSyncState |  | sync ( 1 ) , nosync ( 2 )
Selected Time Reference ("ssSysStaTimeReference") | .1.3.6.1.4.1.18837.3.2.2.1.3 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaTimeReference |  | (null if none selected)
Selected 1PPS Reference ("ssSysSta1PPSReference") | .1.3.6.1.4.1.18837.3.2.2.1.4 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysSta1PPSReference |  | (null if none selected)
Holdover mode ("ssSysStaHoldoverState") | .1.3.6.1.4.1.18837.3.2.2.1.6 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaHoldoverState |  | inHoldover ( 1 ) , notInHoldover ( 2 )
TFOM ("ssSysStaTfom") | .1.3.6.1.4.1.18837.3.2.2.1.7 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaTfom |  | (range of 1 to 15)
Estimated Frequency Error ("ssSysStaEstFreqError") | .1.3.6.1.4.1.18837.3.2.2.1.9 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaEstFreqError
Estimated Phase Error ("ssSysStaEstPhaseError") | .1.3.6.1.4.1.18837.3.2.2.1.8 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaEstPhaseError
GPS/GNSS Receiver info
Antenna Sense ("ssGpsRefAntennaState") | .1.3.6.1.4.1.18837.3.2.2.2.1.1.17 | specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRefAntennaState |  | ok ( 1 ) , short ( 2 ) , open ( 3 ) , unknown ( 4 )
# Satellites being tracked ("ssGpsRefNumSats") | .1.3.6.1.4.1.18837.3.2.2.2.1.1.8 | specSecureSyncMIB.specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRefNumSats |  | (out of a possible max of 12 satellites)
GPS Time validity ("ssGpsRefTimeValid") | .1.3.6.1.4.1.18837.3.2.2.2.1.1.4 | specSecureSyncMIB.specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRefTimeValid |  | valid ( 1 ) , not valid ( 2 )
GPS 1PPS validity ("ssGpsRef1ppsValid") | .1.3.6.1.4.1.18837.3.2.2.2.1.1.5 | specSecureSyncMIB.specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRef1ppsValid |  | valid ( 1 ) , not valid ( 2 )
GPS latitude ("GpsRefLatitude") | .1.3.6.1.4.1.18837.3.2.2.2.1.1.13 | specSecureSyncMIB.specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRefLatitude
GPS longitude ("ssGpsRefLongitude") | .1.3.6.1.4.1.18837.3.2.2.2.1.1.14 | specSecureSyncMIB.specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRefLongitude
GPS Altitiude ("ssGpsRefAltitude") | .1.3.6.1.4.1.18837.3.2.2.2.1.1.15 | specSecureSyncMIB.specSecSyncObjs.ssGpsRefStatusObjs.ssGpsRefTable.ssGpsRefTableEntry.ssGpsRefAltitude
System (kernel) Date / Time (in UTC timescale)
Date/Time ("ssSysStaDateTime") | .1.3.6.1.4.1.18837.3.2.2.1.15 | specProducts.specxSyncMIB.specxSyncObjs.ssSystemStatusObjs.ssSysStaDateTime.0 |  | ("YYYY DDD HH:MM:SS.NNNNNNNNN" where: YYYY = Year DDD = Day of Year HH = Hour MM = Minute SS = Second NNNNNNNNN = Subseconds" )
SystemTimeScale ("ssSysStaTimeScale") | .1.3.6.1.4.1.18837.3.2.2.1.10 | specProducts.specxSyncMIB.specxSyncObjs.ssSystemStatusObjs.ssSysStaTimeScale.0
System Alarms
Major Alarm ("ssSysStaMajorAlarm') | .1.3.6.1.4.1.18837.3.2.2.1.14 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaMajorAlarm |  | on ( 1 ) , off ( 2 )
Reason(s) for Major alarm ("ssSysStaMajorAlarmCauses") | .1.3.6.1.4.1.18837.3.2.2.1.21 | specProducts.specxSyncMIB.specxSyncObjs.ssSystemStatusObjs.ssSysStaMajorAlarmCauses.0
Minor Alarm ("ssSysStaMinorAlarm") | .1.3.6.1.4.1.18837.3.2.2.1.13 | specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaMinorAlarm |  | on ( 1 ) , off ( 2 )
Reason(s) for Minor alarm ("ssSysStaMinorAlarmCauses") | .1.3.6.1.4.1.18837.3.2.2.1.20 | specProducts.specxSyncMIB.specxSyncObjs.ssSystemStatusObjs.ssSysStaMinorAlarmCauses.0
“Opt-IDM” (GNSS Jamming/Spoofing detection Alerts) (not available on all units)
Note: Applicable only to (Both): 1) Units with either Opt-BSH or Opt-JADE options installed/enabled (both Options require a u-Blox Model GNSS receiver be installed, and an EULA agreement signature) AND 2) Main software versions 5.9.4 and above installed Contact Orolia Support for more info on Opt-BSH and Opt-JADE
JAMMING detection ("ssSysStaBshJammingState") Note: Jamming detection is available with Opt-BSH or Opt-JADE | .1.3.6.1.4.1.18837.3.2.2.1.20 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaBshJammingState |  | active ( 1 ) , noactive ( 2 ) Note: Reports "GPS_ANT_ERR" if Opt-BSH or Opt-JADE not installed
SPOOFING detection (".ssSysStaBshSpoofingState") Note: Spoofing detection only available with Opt-BSH (not available with Opt-JADE) | .1.3.6.1.4.1.18837.3.2.2.1.21 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaBshSpoofingState |  | active ( 1 ) , noactive ( 2 ) Note: Responds with a "null" unless Opt-BSH is installed
NTP info
NTP Sync state ("ntpSysStaCurrentMode") | .1.3.6.1.4.1.18837.3.3.2.1 | specProducts.ntpSnmpObjs.ntpSystemStatusObjs.ntpSysStaCurrentMode | unknown ( 1 ) , notRunning ( 2 ) , notSynchonized ( 3 ) , synchronized ( 4 )
NTP Stratum ("ntpSysStaStratum") | .1.3.6.1.4.1.18837.3.3.2.2 | specProducts.ntpSnmpObjs.ntpSystemStatusObjs.ntpSysStaStratum | (Range of NTP Stratums is "1" to "16")
Stats for NTP's "Current Peer" (NTP's currently selected time reference, such as GPS or another NTP server):
Example CLI command response: ntpq -p <enter> below (NTP's "Current Peer" is circled in red) Note: NTP's "Current peer" (NTP's current time reference) is indicated by a "+" at the beginning of the row
Hostname/IP address of NTP's selected reference ("ntpSysStaCurrentPeerName") | .1.3.6.1.4.1.18837.3.3.2.4 | specProducts.ntpSnmpObjs.ntpSystemStatusObjs.ntpSysStaCurrentPeerName
Delay of the NTPs selected refererence ("ntpSysStaPeerDelay") | .1.3.6.1.4.1.18837.3.3.2.5 | specProducts.ntpSnmpObjs.ntpSystemStatusObjs.ntpSysStaPeerDelay
Offset between NTP and its selected reference ("ntpSysStaPeerOffset") | .1.3.6.1.4.1.18837.3.3.2.6 | specProducts.ntpSnmpObjs.ntpSystemStatusObjs.ntpSysStaPeerOffset
Jitter of the NTP's selected reference ("ntpSysStaPeerJitter") | .1.3.6.1.4.1.18837.3.3.2.7 | specProducts.ntpSnmpObjs.ntpSystemStatusObjs.ntpSysStaPeerJitter
SNMPv3 engineID
Get the SNMPv3 EngineID | .1.3.6.1.6.3.10.2.1.1.0
System MIBs (available with software versions 5.2.1 and above installed)
Note: These SNMP object below with OID numbers ".1.3.6.1.4.1.2021.x" are objects associated with the ucdavis (UCD-SNMP-MIB) mib file. For more information on this MIB file, which is supported by SecureSync, refer to: http://www.net-snmp.org/docs/mibs/ucdavis.html
MEMORY:
Total Swap Size ("memTotalSwap") | .1.3.6.1.4.1.2021.4.3.0 | .ucdavis.memory.memTotalSwap
Available Swap Space ("memAvailSwap") | .1.3.6.1.4.1.2021.4.4.0 | .ucdavis.memory.memAvailSwap
Total RAM in machine ("memTotalReal") | .1.3.6.1.4.1.2021.4.5.0 | .ucdavis.memory.memTotalReal
Total RAM used ("memAvailReal") | .1.3.6.1.4.1.2021.4.6.0 | .ucdavis.memory.memAvailReal
Total RAM Free ("memTotalFree") | .1.3.6.1.4.1.2021.4.11.0 | .ucdavis.memory.memTotalFree
Total RAM Shared ("memShared") | .1.3.6.1.4.1.2021.4.13.0 | .ucdavis.memory.memShared
Total RAM Buffered ("memBuffer") | .1.3.6.1.4.1.2021.4.14.0 | .ucdavis.memory.memBuffer
Total Cached Memory ("memCached") | .1.3.6.1.4.1.2021.4.15.0 | .ucdavis.memory.memCached
CPU: | `
percentage of user CPU time ("ssCpuUser") | .1.3.6.1.4.1.2021.11.9.0 | ,ucdavis.systemStats.ssCpuUser
raw user cpu time ("ssCpuRawUser") | .1.3.6.1.4.1.2021.11.50.0 | .ucdavis.systemStats
percentages of system CPU time ("ssCpuUser") | .1.3.6.1.4.1.2021.11.10.0 | .ucdavis.systemStats.ssCpuUser
raw system cpu time ("ssCpuSystem") | .1.3.6.1.4.1.2021.11.52.0 | .ucdavis.systemStats.ssCpuSystem
percentages of idle CPU time (ssCpuIdle) | .1.3.6.1.4.1.2021.11.11.0 | .ucdavis.systemStats.ssCpuIdle
raw idle cpu time ("ssCpuRawIdle") | .1.3.6.1.4.1.2021.11.53.0 | .ucdavis.systemStats.ssCpuRawIdle
raw nice cpu time ("ssCpuRawNice") | .1.3.6.1.4.1.2021.11.51.0 | .ucdavis.systemStats.ssCpuRawNice
DISK USAGE:
Path where the disk is mounted: | .1.3.6.1.4.1.2021.9.1.2.1 | .ucdavis.dskTable.dskEntry.dskPath
Path of the device for the partition: | .1.3.6.1.4.1.2021.9.1.3.1 | .ucdavis.dskTable.dskEntry.dskDevice
Total size of the disk/partition (kBytes): | .1.3.6.1.4.1.2021.9.1.6.1 | .ucdavis.dskTable.dskEntry.dskTotal
Available space on the disk: | .1.3.6.1.4.1.2021.9.1.7.1 | .ucdavis.dskTable.dskEntry.dskAvail
Used space on the disk: | .1.3.6.1.4.1.2021.9.1.8.1 | .ucdavis.dskTable.dskEntry.dskUsed
Percentage of space used on disk: | .1.3.6.1.4.1.2021.9.1.9.1 | .ucdavis.dskTable.dskEntry.dskPercent
Percentage of inodes used on disk: | .1.3.6.1.4.1.2021.9.1.10.1 | .ucdavis.dskTable.dskEntry.dskPercentNode
Temperature MIBs (available with software versions 5.3.1 and above)
Oscillator temp (ssSysStaOscTemp) | .1.3.6.1.4.1.18837.3.2.2.1.17 | .specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaOscTemp
Board temp (ssSysStaBrdTemp) | .1.3.6.1.4.1.18837.3.2.2.1.18 | .specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaBrdTemp
CPU temp (ssSysStaCPUTemp) | .1.3.6.1.4.1.18837.3.2.2.1.19 | .spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaCpuTemp
Rev N, 16 Apr 2022

## SNMP Sets
SNMP Sets
Modifying or displaying the Input Reference Priority table (this table enables and prioritizes the list of configured inputs for selection)
A) To enable/Disable each row of the Reference Priority table
Below are the specific OIDs to enable/disable each reference (1 to Enable and 2 to Disable)
Index (row of table) Associated OID
1 .1.3.6.1.4.1.18837.3.2.2.4.1.1.3.1
2 .1.3.6.1.4.1.18837.3.2.2.4.1.1.3.2
3 .1.3.6.1.4.1.18837.3.2.2.4.1.1.3.3
4 .1.3.6.1.4.1.18837.3.2.2.4.1.1.3.4
5 .1.3.6.1.4.1.18837.3.2.2.4.1.1.3.5
6 .1.3.6.1.4.1.18837.3.2.2.4.1.1.3.6
7 etc
Note that in order to disable each reference, the value of “2” needs to be sent.
B) To change the priority value assigned to each reference in the Reference Priority table
Below are the specific OIDs to enable/disable each reference (available Priority values are 1 through 15)
Index (row of table) Associated OID
1 .1.3.6.1.4.1.18837.3.2.2.4.1.1.4.1
2 .1.3.6.1.4.1.18837.3.2.2.4.1.1.4.2
3 .1.3.6.1.4.1.18837.3.2.2.4.1.1.4.3
4 .1.3.6.1.4.1.18837.3.2.2.4.1.1.4.4
5 .1.3.6.1.4.1.18837.3.2.2.4.1.1.4.5
6 .1.3.6.1.4.1.18837.3.2.2.4.1.1.4.6
7 etc

## SNMP Traps
System Alarms (Traps)
Traps: Certain events can automatically send an SNMP trap (also referred to as a Notification) when they occur. Available traps that can be sent are listed in the table below.
Associated OIDs (fourth column of table below): SNMP traps (Notifications) just define alerts that can be automatically sent when a specific event occurs. Traps and the variables they report cannot be polled using an SNMP Get. However, there may be another object available that reports the current status that is associated with that particular trap. For example, the "Time Synchronization" trap is sent when loss of sync occurs. An SNMP Get of the trap can't be performed. But there may be an associated object available that can be polled for the current sync status.
Clear traps: Some events (such as a loss of Sync) have an associated "Clear" trap that is sent when the event has cleared (Sync has been restored for example) . These are indicated below with a correlating fill color. Other events (such as changing from one input reference to another ) do not have a "Clear" conditon associated with it. These traps are displayedbelow with no fill color.
SNMP Trap | Trap name | OID Number | Major or Minor alarm clasification | Indicates | OID (if one is available) to perform an SNMPGet for this associated current status | Recommended actions if trap is sent *See the note below this table about the time stamp for each log entry
Opt-IDM: GNSS Spoofing and/or Jamming detection alert Note: Applicable only to (Both): 1) Units with either Opt-BSH or Opt-JADE options installed/enabled (both Options require a u-Blox Model GNSS receiver be installed, and an EULA agreement signature) AND 2) Main software versions 5.9.4 and above installed Contact Orolia Support for more info on available software Options: Opt-BSH and Opt-JADE | "ssEvtV2BshMajorAlarm" | 1.3.6.1.4.1.18837.3.1.3.0.2 | Major alarm | GNSS spoofing and/or jamming has been detected (or is no longer being detected) | JAMMING detection ("ssSysStaBshJammingState") .1.3.6.1.4.1.18837.3.2.2.1.20 SPOOFING detection ("ssSysStaBshSpoofingState") .1.3.6.1.4.1.18837.3.2.2.1.21 Notes: Jamming detection is available with either Options Opt-BSH or Opt-JADE installed. Spoofing detection is only available with Option Opt-BSH installed (not available with Opt-JADE) | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being asserted.
“Time Synchronization” | ssEvtV2TimeSync | 1.3.6.1.4.1.18837.3.1.3.0.2 | Major alarm | The unit has either entered or left the synchronized state | Sync Status (Refer to "unit's sync state" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.1.5 | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being asserted. Has the SecureSync been recently rebooted/power cyced (as indicated by a "The Unit Has Rebooted" entry in the Tools-> Events page of the browser and/or associated Reboot trap)? This alarm is asserted for two primary reasons, including after each boot-up (it should clear shortly thereafter). If the SecureSync wasn't recently rebooted, it lost Time Sync status some time ago (due to all of its input references being lost/declared not valid). In this scenario, the Time Sync alarm would have been preceeded by an "In Holdover" alarm/trap (and associated Minor alarm/trap), asserted when all inputs were initially lost. See if the "GPS Antenna Problem" alarm was also asserted (as indicated in the Tools -> Alarms page of the browser) and/or the associated "GPSAntenna" trap also being sent. Refer to the "GPSAntenna" trap in this table for additional info). If the SecureSync is normally synced with GPS satellites (via an antenna attached to the rear panel), refer to the "SecureSync GPS Reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“Holdover” | ssEvtV2Holdover | 1.3.6.1.4.1.18837.3.2.3.0.2 | Minor alarm | The unit has either entered or left the holdover state. | Holdover Mode (Refer to "Holdover" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.1.6 | Note this alarm is classified as a Minor alarm conditon and will result in the Minor alarm/trap also being asserted. Recently, all available input references have been lost/declared no valid. See if the "GPS Antenna Problem" alarm was also asserted (as indicated in the Tools -> Alarms page of the browser) and/or the associated "GPSAntenna" trap also being sent. Refer to the "GPSAntenna" trap in this table for additional info). If the SecureSync is normally synced with GPS satellites (via an antenna attached to the rear panel), refer to the "SecureSync GPS Reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
"Frequency Error” | ssEvtV2FrequencyError | 1.3.6.1.4.1.18837.3.2.3.0.3 | Major alarm | The frequency output error exceeds specifications. | N/A | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being asserted. See if any other alarms were also asserted recently or at the same time. Has the time SecureSync been recently rebooted/power cyced (as indicated by "The Unit Has Rebooted" entries in the Tools-> Events page of the browser and/or associated Reboot trap being sent). This alarm is asserted for several reasons, including after each boot-up and should normally clear within a few minutes therafter. In software versions 5.2.1 and below, is NTP the selected input (indicated on the Home page of the browser)? In earlier versions, this alarm normally remains continuously asserted when its synced to other time severs. View/Search the Tools -> Alarms page of the browser for possible "In Holdover" alarms and the Tools -> Events page of the browser for possible "Reference Change" entries (losing all input references or switching between references can cause the Frequency Error alarm to be asserted).
“Frequency OK” | ssEvtV2FrequencyOK | 1.3.6.1.4.1.18837.3.2.3.0.4 | N/A | The frequency output error meets specifications. | N/A | N/A. Alarm has cleared.
“User-defined Minor Alarm” | ssEvtV2UserMinorAlarm | 1.3.6.1.4.1.18837.3.2.3.0.5 | Minor alarm | The user-programmable minor alarm timeout has been asserted. | # Satellites being tracked (Refer to "# Satellites being tracked" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.2.1.1.8 | Note this alarm is classified as a Minor alarm conditon and will result in the Minor alarm/trap also being asserted. Indicates the GNSS receiver is tracking fewer satellites than the user-specified minimum number of satellites to alert on (as configiured in the Management -> Notifications page of the browser, GPS tab). This number may have been set unreasonally too high (often, numbers above "4" , as it's not uncommon for only 4 or 5 satellites to be in view at any given time). See how many satellites the GNSS receiver is currently tracking (Interfaces-> GNSS 0 page of the browser. if the receiver is tracking less than about 4 satellites with the antenna mounted outdoors, refer to the "SecureSync GPS reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“User-defined Minor Alarm Clear” | ssEvtV2UserMinorClear | 1.3.6.1.4.1.18837.3.2.3.0.6 | N/A | The user-programmable minor alarm timeout has been reset. | N/A | Note this alarm is classified as a Minor alarm conditon and will result in the Minor alarm/trap also being asserted. Indicates the GNSS receiver is tracking fewer satellites than the user-specified minimum number of satellites to alert on (as configiured in the Management -> Notifications page of the browser, GPS tab). This number may have been set unreasonally too high (often, numbers above "4" , as it's not uncommon for only 4 or 5 satellites to be in view at any given time). See how many satellites the GNSS receiver is currently tracking (Interfaces-> GNSS 0 page of the browser. if the receiver is tracking less than about 4 satellites with the antenna mounted outdoors, refer to the "SecureSync GPS reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“User-defined Major Alarm” | ssEvtV2UserMajorAlarm | 1.3.6.1.4.1.18837.3.2.3.0.7 | Major alarm | The user-programmable major alarm timeout has been asserted. | # Satellites being tracked (Refer to "# Satellites being tracked" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.2.1.1.8 | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm also being asserted. Indicates the GNSS receiver is tracking fewer satellites than the user-specified min number of satellites to alert on (as configiured in the Management -> Notifications page of the browser, GPS tab). This number may have been set unreasonably too high (often, numbers above "4" , as it's not uncommon for only 4 or 5 satellites to be in view at any given time). See how many satellites the GNSS receiver is currently tracking (Interfaces-> GNSS 0 page of the browser. if the receiver is tracking less than about 4 satellites with the antenna mounted outdoors, refer to the "SecureSync GPS reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“User-defined Major Alarm Clear” | ssEvtV2UserMajorClear | 1.3.6.1.4.1.18837.3.2.3.0.8 | N/A | The user-programmable major alarm timeout has been reset. | N/A | N/A. Alarm has cleared.
“GPS Antenna” | ssEvtV2GpsAntenna | 1.3.6.1.4.1.18837.3.2.3.0.9 | Minor alarm | The GPS antenna state has changed (antenna is disconnected, short or open occurring in the antenna cable). | Antenna Sense (Refer to "Antenna Sense" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.2.1.1.17 | Note this alarm is classified as a Minor alarm and will result in the Minor alarm also being asserted. Indicates the internal GNSS receiver has detected either an open or short in the antenna coax cable (between the SecureSync and its antenna, or the antenna is not connected to the SecureSync. Can also be asserted due to surge damage to the GNSS receiver. Refer to the "SecureSync GPS Reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“Minor Alarm” | ssEvtV2MinorAlarm | 1.3.6.1.4.1.18837.3.2.3.0.10 | N/A | The system Minor alarm has changed state. | Minor Alarm (Refer to "Minor Alarm" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.1.13 | This alarm is asserted each time an alarm that is classified as a Minor alarm condition is asserted. Find out what other Alarm(s) were also asserted at that time (as reported in the Tools -> Alarms page of the web browser). Refer to that Alarm type in this table.
“MajorAlarm” | ssEvtV2MajorAlarm | 1.3.6.1.4.1.18837.3.2.3.0.11 | N/A | The system Major alarm has changed state. | Major Alarm (Refer to "Major Alarm" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.1.14 | This alarm is asserted each time an alarm that is classified as a Major alarm condition is asserted. Find out what other Alarm(s) were also asserted at that time (as reported in the Tools -> Alarms page of the web browser). Refer to that particular alarm type in this table.
“Reference Change” | ssEvtV2RefChange | 1.3.6.1.4.1.18837.3.2.3.0.12 | N/A | The selected input time reference has changed. | N/A | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being assertedVerify why the higher priority reference was lost/declared not valid. If the SecureSync is nornally synced with GPS satellites (via an antenna), refer to the "SecureSync GPS reception troubleshooting" guide (available on our website at: http://spectracom.com/Support/HowCanWeHelpYou/Library/tabid/59/Default.aspx?EntryId=315).
“1PPS Error” | ssEvtV21ppsError | 1.3.6.1.4.1.18837.3.2.3.0.13 | Major alarm | The 1PPS output error exceeds specifications. | N/A | Note this alarm is classified as a Major alarm and will result in the Major alarm/trap also being asserted. In order for this alarm to be asserted, the MaxTFOM value must have been changed from the factory default value of "15" in the Management -> Disciplining page of the browser). It may have been set to too low of a number. Dependant on the type of oscillator installed, in general it shouldn't be set to a number less than "4" ). View/Search the Tools -> Alarms log page of the browser for possible "In Holdover" and/or "Time Sync" alarms (and associated traps being sent). If the SecureSync is normally synced via IRIG input, verify the IRIG source/generator is locked to an external refernence (such as GPS). This can result in excessive jitter of the selected 1PPS input reference.
“1PPS OK” | ssEvtV21ppsOK | 1.3.6.1.4.1.18837.3.2.3.0.14 | N/A | The 1PPS output error no longer exceeds specifications. | N/A | N/A. Alarm has now cleared.
“Hardware Error” | ssEvtV2HWError | 1.3.6.1.4.1.18837.3.2.3.0.15 | Major alarm | The timing system hardware is impaired. | N/A | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being asserted. Send the unit's logs to Spectracom for review/confirmation that an RMA Number to return the SecureSync to Spectracom is likely needed.
“Oscillator Alarm” (applicable to Rubidium oscillator only, if installed) | ssEvtV2OscillatorAlarm | 1.3.6.1.4.1.18837.3.2.3.0.16 | Major alarm | The oscillator is requires maintenance. This typically indicates that the oscillator is within 10% of the edge its adjustable range (TCXO and OCXO) or the oscillator module lamp needs service. | N/A | Note this alarm is classified as a Major alarm conditon and will result in the Major alarm/trap also being asserted. Send the unit's logs to Spectracom for review/confirmation that an RMA Number to return the SecureSync to Spectracom is likely needed. Note this alarm/trap can also be asserted if there is excessive jitter on its selected input reference (such as an IRIG source not locked to an external reference, for instance).
“Oscillator OK” (applicable to Rubidium oscillator only, if installed) | ssEvtV2OscillatorOK | 1.3.6.1.4.1.18837.3.2.3.0.17 | N/A | The oscillator no longer requires maintenance. This typically indicates that the oscillator adjustment value has changed and is now greater than 10% from the edge of its adjustable range. | N/A | N/A. Alarm has now cleared.
"Reboot" | ssEvtV2Reboot | 1.3.6.1.4.1.18837.3.2.3.0.18 | N/A | The system has rebooted. | N/A | If the SecureSync wasn't intentionally either rebooted or power cycled, verify input power connections and power source.
"Auth (Authentication) Error" (disabled by Factory default) |  | 1.3.6.1.2.1.1.3.0 | N/A | The Auth Error trap is sent when there is an SNMP authentication error on an SNMP query. | N/A | Verify the SNMP user/community names (configured in the NTP time server) match the user/community names configured in the SNMP Manager polling the time server.
"High Temperature, Minor Alarm (software versions 5.3.1 and above) | ssEvtV2MaxTempMinorAlarm | .1.3.6.1.4.1.18837.3.2.3.0.19 | Minor alarm | The "CPU Temperature" exceeded max temperature alarm threshold (as configured in the Tools -> System Monitor page of the browser) | CPU Temperature (Refer to "CPU Temp" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.1.19 | View the "CPU Temperature" in the Tools -> System Monitor page of the browser. Verify ambient temperature and front panel cooling fan operation
High Temperature, Minor Alarm, Cleared (software versions 5.3.1 and above) | ssEvtV2MaxTempMinorClear | .1.3.6.1.4.1.18837.3.2.3.0.20 | N/A | The "CPU Temperature" is below the temperature alarm threshold (as configured in the Tools -> System Monitor page of the browser) | CPU Temperature (Refer to "CPU Temp" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.1.19 | N/A. Alarm has now cleared.
High Temperature, Major Alarm (software versions 5.3.1 and above) | ssEvtV2MaxTempMajorAlarm | .1.3.6.1.4.1.18837.3.2.3.0.21 | Major alarm | The "CPU Temperature" exceeded max temperature alarm threshold (as configured in the Tools -> System Monitor page of the browser) | CPU Temperature (Refer to "CPU Temp" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.1.19 | View the "CPU Temperature" in the Tools -> System Monitor page of the browser. Verify ambient temperature and front panel cooling fan operation
High Temperature, Major Alarm, Cleared (software versions 5.3.1 and above) | ssEvtV2MaxTempMajorClear | .1.3.6.1.4.1.18837.3.2.3.0.22 | N/A | The "CPU Temperature" is below the temperature alarm threshold (as configured in the Tools -> System Monitor page of the browser) | CPU Temperature (Refer to "CPU Temp" in the "SNMPGets-Sets" tab): .1.3.6.1.4.1.18837.3.2.2.1.19 | N/A. Alarm has now cleared.
* Note about time stamps for all of the log entries: The time stamp for each log entry is in UTC time scale (not local time). A "local time offset based on region/DST time correction for UTC offset needs to be added/subtracted to the time of a log entry to convert it to local time. For example, subtract 4 hours from the time of each log entry when in Eastern Time Zone and while in DST.

## 1204-32 GB PTP
"SPECTRACOM-GPTP-MIB.MIB" FILE (available MIB file for the Model 1204-32 GB PTP Option Card)
Note: Support for this MIB file started in software version 5.6.0
GB PTP objects start with .1.3.6.1.4.1.18837.3.5
`
Example SNMP Gets
Unit Identification/version info
Model Number | .1.3.6.1.4.1.18837.3.5 | sysDescr
Serial Number | .1.3.6.1.4.1.18837.3.5 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaSerial
Serial Number | .1.3.6.1.4.1.18837.3.5 | spectracom.specProducts.specSecureSyncMIB.specSecSyncObjs.ssSystemStatusObjs.ssSysStaSerial

## Option 12 "PTP"
"SPECTRACOM-PTP-MIB.MIB" FILE (Available MIB file for the Model 1204-12 10/100 PTP Option Card)